## IZ ACK_Z23 JD_Template
9/8/2016 Final 1 | LOI PT ORL_NG Juror Document Template |  | Blue Text = | Instructions to programmer
Metadata
Process an Acknowledgement
Test Case ID | ORL_0.0_1.1-NG |  |  |  | This ID will tell the Tester which Test Case this JD addresses
Juror ID
Juror Name
HIT System Tested
Inspection Date/Time
Inspection Settlement (Pass/Fail) | Pass |  | Fail
Reason Failed
Juror Comments
DISPLAY VERIFICATION |  | LOI ORL w/o ERR Segment
This Test Case-specific Juror Document provides a checklist for the Tester to use during certification testing for assessing the health information technology (HIT) module's ability to receive and process an ORL message related to laboratory order messaging in which NO Error is returned in the ORL message. The exact wording and format of the display in the HIT module is not in-scope for this test. |  |  |  |  | Make this text a smaller font than the text on row 17
Process an Acknowledgement
The receiving HIT module being tested shall process the ORL message correctly; a positive notification indicating that the ORL message was processed correctly need not be made visible in the module.