## Slide 1: Understanding Conformance Testing Using the NIST HL7 v2 LRI-LIS Validation Tool
Conformance Criterion:
Transmit electronic laboratory tests and values/results
Robert Snelick, NIST (rsnelick@nist.gov)
V1.2 November 16, 2016

## Slide 2: Purpose
Provide an additional resource to explain the process of HIT Module conformance testing related to HL7 v2 Laboratory Results Interface-Laboratory Information System (LRI-LIS) Messaging
Describe NIST approach for assessing and validating the test messages
Provide an overview of the testing requirements

## Slide 3: Table of Contents
List of Resources
Scope of Conformance Testing
Transmit electronic laboratory tests and values/results criterion and conformance standards
Testing Process Diagram
Testing Workflow Diagrams
Explanation of Test Scenarios and Test Cases/Steps
Example Test Step Documents
Explanation of Test Data Categorization/Validation
Test Tool Overview and Example Test Tool Screen
Additional Resources

## Slide 4: Resources
  Test Tool Web Site (http://hl7v2-lab-r2-testing.nist.gov/lri-r2/#/home )
  Validation Tools
  User Documentation
    Normative Test Process Document (on Test Tool Documentation Tab)
    S&I Framework Lab Results Interface (LRI) Implementation Guide
  (http://www.hl7.org/implement/standards/product_brief.cfm?product_id=279)
    LRI-LIS Tool Quick Reference Guide (In Process)
    LRI-LIS Tool Tutorial (In Process)
  Release Notes for each version of Test Tool
  (on Test Tool Documentation Tab)
      LRI Test Tool Google Group for submitting questions to the Test Tool developers Same url is used for ONC 2014 Edition LRI Test Tool
(https://groups.google.com/d/forum/hl7v2-lab-testing)

## Slide 5: Scope of Conformance Testing - LRI-LIS
  The conformance criterion is focused on testing the capability of an HIT Module (e.g., LIS or EHR-S lab module) to create HL7 messages for electronic transmission of clinical laboratory test results
  Site-specific configuration of the HIT Module is not being tested
  Method of transmitting the result messages is not being tested
Testing is directed at a Health IT Module (product), not specific instances (installations) of the Module
  Testing encompasses only specific use cases described in the LRI Implementation Guide (IG)
  Testing does not attempt to address the entire spectrum of use cases found in practice
  How the LRI messages are transmitted/exported from the HIT Module is out of scope
  Receiving EHR-S are not being tested using the LIS Test Plan in the LRI Test Tool (receiving EHR-S are being tested using the EHR Test Plan in the LRI Test Tool)
Testing focus and scope are narrow
  The HIT Module is required to demonstrate the ability to create HL7 v2 lab result messages for electronic transmission; specific test data for the messages are provided in Test Cases
  The test data and Test Cases do not cover all possible clinical lab tests; through consultation with clinical laboratory experts, a subset of key lab tests were selected for testing
  The format in which the test data are displayed on the screen of the HIT Module is not part of the testing
HIT Module conformance testing is driven by the test data
Clinical laboratory subject matter experts, in collaboration with the National Institute of Standards and Technology (NIST), provided the Test Scenarios, Test Cases, and Test Data for the Laboratory Results Interface (LRI) conformance testing

## Slide 6: Conformance Criterion - LRI-LIS
Transmit electronic laboratory tests and values/results testing evaluates the capability for an HIT Module to create laboratory test values/results messages using
HL7 Version 2.5.1 Implementation Guide: S&I Framework Lab Results Interface, Release 1, DSTU Release 2 – US Realm, September 2015 (Referred to as LRI IG)
LOINC® version 2.50

## Slide 7: Conformance Standards - LRI-LIS
Electronic incorporation and transmission of lab results
  HL7 Version 2.5.1 Implementation Guide: S&I Framework Lab Results Interface, Release 1, DSTU Release 2 – US Realm, September 2015
Vocabulary for representing electronic health information
  Logical Observation Identifiers Names and Codes (LOINC®) Database version 2.50, a universal code system for identifying laboratory and clinical observations produced by the Regenstrief Institute, Inc.

## Slide 8: Conformance Standards Documents – LRI-LIS
HL7 v2.5.1 LRI Implementation Guide, Release 1, DSTU Release 2, Sept 2015
http://www.hl7.org/implement/standards/product_brief.cfm?product_id=279

## Slide 9: Vocabulary Standard Web Site – LRI-LIS
http://loinc.org/
LOINC® Database version 2.50

## Slide 10: Lab Results to EHR-S Testing Process
The HIT Module (e.g., LIS or EHR-S lab module) is the system being tested. The HIT Module is required to create messages that meet the conformance and vocabulary standards (See previous slides).
Test data can be entered into the Module directly via the user interface (manually) or can be imported via an incoming message (using any automated method).
The Module is expected to process the test data to create a message. This message is exported* from the Module and imported* into the NIST Test Tool for automated validation.
Test data are available through the Test Tool via the Test Steps. Each Test Step includes a Test Story that provides the context, a Test Data Specification that lists the test data, a Message Content Data Sheet that shows a conformant message (in a table format) including a detailed profile of the required elements, a Test Message, and (where applicable) a Juror Document.
*How the message is exported/imported/received is not in-scope for certification testing
NIST Test Tool (Validation Tool)
Diagram does not show testing process for Acknowledgment messages
HIT Module LIS or EHR-S Lab Module
(System under Test)
EHR-S
HL7 LRI IG 2015
Direct Data Entry
ORU Message Elements
ORU Elements
Conformance Test Scope
Message
Exported*
ORU Message
Message
Imported*

## Slide 11: Transmit Lab Results Testing Workflow Diagram
This diagram shows
  How the steps of the transmit lab test values/results test are sequenced
  When the Test Tool is to be used

## Slide 12: Receive Accept ACK Testing Workflow Diagram
This diagram shows
  How the steps of the receive Accept Acknowledgement* test are sequenced
  When the Test Tool is to be used
*Acknowledgement messages are tested only in the PT & INR Test Scenario

## Slide 13: Receive Application ACK Testing Workflow Diagram
This diagram shows
  How the steps of the receive Application Acknowledgement* test are sequenced
  When the Test Tool is to be used
*Acknowledgement messages are tested only in the PT & INR Test Scenario

## Slide 14: Send Accept ACK Testing Workflow Diagram
This diagram shows
  How the test steps are sequenced for the send Accept Acknowledgement* message (in response to the Application Acknowledgement message)
  When the Test Tool is to be used
*Acknowledgement messages are tested only in the PT & INR Test Scenario

## Slide 15: Test Scenarios and Test Cases/Steps
Test data are available in the LRI Test Tool via the Test Scenarios provided in the LIS Test Plan
The Test Scenarios are composed of Test Cases and/or Test Steps
Each Test Step includes a Test Story, Test Data Specification, Message Content Data Sheet, Test Message, and (where applicable) a Juror Document
The HL7 Version 2.5.1 Implementation Guide: S&I Framework Lab Results Interface (LRI) interoperability standard defines four Profile options relevant for conformance testing:
  LRI_NG_FRU_Profile – ID: 2.16.840.1.113883.9.195.3.3
  LRI_NG_FRN_Profile – ID: 2.16.840.1.113883.9.195.3.4
  LRI_GU_FRU_Profile – ID: 2.16.840.1.113883.9.195.3.1
  LRI_GU_FRN_Profile – ID: 2.16.840.1.113883.9.195.3.2
The Tool provides seven Test Scenarios for the NG Profile options and seven for the GU Profile options
For the purpose of the testing, conformance to only one Profile option is required — the Vendor will inform the Tester as to which Profile option their HIT Module is conformant

## Slide 16: Test Scenarios and Test Cases/Steps (cont’d)
Test Scenarios/Cases/Steps for the four Profile options are provided in the LIS Test Plan in the LRI Test Tool
This figure shows a sub-set of the Test Scenarios/Cases/Steps in the LIS Test Plan for the GU Profile option
The Tester shall execute all seven Test Scenarios for either the GU or NG Profile
For certain Test Scenarios, the Tester need not execute optional* Test Cases
*Support for the capabilities in optional Test Cases is preferred but not required
Test Case
Test Scenario
Test Step
Profile option
Test Scenario
Test Step

## Slide 17: Test Scenarios and Test Cases/Steps (cont’d)
Test Cases/Steps for Scenarios 1 – 3 are shown in the table below
Minimally populated means the LRI example messages contain single occurrences of all required ("R") elements
Maximally populated means the LRI example messages contain all the R, RE, C(a/b) elements defined in the implementation guide
Typically populated means the LRI example message contains data that are routinely sent whether the data element is R (Required) or RE (Required, but may be empty)

## Slide 18: Test Scenarios and Test Cases/Steps (cont’d)
Test Cases/Steps for Scenarios 4 – 5 are shown in the table below

## Slide 19: Test Scenarios and Test Cases/Steps (cont’d)
Test Cases/Steps for Scenarios 6 – 7 are shown in the table below

## Slide 20: Test Data Documents* for Each Test Step
Each Test Step includes a narrative Test Story that describes a real world situation and provides context for the Test Step
Along with the Test Story description is information about PreConditions, PostConditions, Test Objectives, and Notes to Testers
Example: Test Data pdf document for the LRI_1.0_1.1-GU_ Sed Rate Final Result Test Step
Test Story
*Available for viewing online and via downloaded pdf or txt file

## Slide 21: Test Data Documents for Each Test Step (cont’d)
21
Each Test Step includes a Test Data Specification that
  Lists data associated with the Test Story
  Consists of typical information found in the clinical setting
A test message is generated using these data and the HIT Module functions
Test Data Specification
Example: Test Data pdf document for the LRI_1.0_1.1-GU_ Sed Rate Final Result Test Step
Notes: 21

## Slide 22: Test Data Documents for Each Test Step (cont’d)
22
Each Test Step includes a Message Content Data Sheet that shows a conformant message instance
The category of the test data is listed in the Categorization column
The Categorization indicates how the data in the messages that are imported into the Tool are assessed by the validation engine
  (See Test Data Categorization and Validation slides for more details)
Example: Test Data pdf document for the LRI_1.0_1.1-GU_ Sed Rate Final Result Test Step
Message Content Data Sheet
Notes: 22

## Slide 23: Test Data Documents for Each Test Step (cont’d)
A test message is provided that coincides with the Test Story for the Test Step
For the LIS Test Plan
  The lab result test messages are exported (sent) by the HIT Module being tested and are imported (received) by the LRI Test Tool (acting as the receiving EHR-S)
  Two ACK messages are sent by the LRI Test Tool (acting as the receiving EHR-S) and are received by the HIT Module; and one ACK message is sent by the HIT Module and received by the LRI Test Tool
Example: Test Message for the LRI_1.0_1.1-GU_Final Sed Rate Test Step
Example Test Message
Example: Test Message for the ACK_0.0_3.1-GU PT & INR Test Step

## Slide 24: Test Data Documents for Each Test Step (cont’d)
24
Each (receiver) Test Step includes a Juror Document – a checklist used by the Tester/Inspector to assess and record whether the HIT Module processed the Acknowledgement message according to the LRI Implementation Guide
Juror Document
Example: Test Data pdf document for the ACK_0.0_3.1-GU PT & INR Test Step
Notes: 24

## Slide 25: Test Data Categorization and Validation
The Message Content Data Sheet shows the categorization of the test data that are provided for each Location in the LRI message
The category assigned to the data is directly related to how the associated message content is validated by the Test Tool, as shown in the table below

## Slide 26: Test Data Validation
The Test Tool validates a message for the presence and exact content of the data for Locations assigned to the IG Fixed category and for selective Locations assigned to the Test Case Fixed category
The Test Tool validates a message for the presence of data for Locations assigned to any of the other categories
  These data are necessary for the transaction, but the exact content is either not relevant for the Test Step or may be system-dependent
  Example: Universal ID for the Performing Organization
The Tester may also inspect the message during validation; the Inspection Test Guides in the Normative Testing Process Document provide guidance
Location | Value | Category | Assessment
OBX.3.1 | 30341-2* | Test Case Fixed Data | Content must be present and either “30341-2”, “18184-2”, “43402-7”, “4537-7”, “4538-5”, or “4539-3”
OBX.3.2 | Erythrocyte sedimentation rate | Test Case Fixed Data | Content must be present and indicate a value equivalent to Erythrocyte sedimentation rate
OBX.3.3 | LN | Test Case Fixed Data | Content must be present and exactly “LN”
OBX.23.6.2 | 2.16.840.1.113883.3.72.5.30.1 | Changeable Data | Content must be present and indicate an equivalent value
OBX.23.6.3 | ISO | IG Fixed Data | Content must be present and exactly “ISO”
*This option is provided in the Message Content Data Sheet for the LRI_1.0_1.1-GU Test Step

## Slide 27: NIST LRI-LIS Test Tool Overview
Tool Key Capabilities | 
Context-based testing / LIS Test Plan | Used for conformance testing driven by test data Validates HIT Modules that create HL7 messages in accordance with the ONC S&I Framework Lab Results Interface (LRI) implementation guide (IG) Provides Juror document for inspection testing
Profile Viewer | Provides a browse-able version of the conformance profile that encapsulates the requirements. Profile Viewer tab is accessible in Context-based testing once a Test Case or Test Step is “loaded”. Can be used to assist in the interpretation of message errors.
Value Sets Browser | Provides a browse-able view of the Value Sets and Vocabulary requirements. Value Sets tab is accessible in Context-based testing once a Test Case or Test Step is “loaded”. Can be used to assist in the interpretation of value set errors.
Documentation | Provides access to documents that assist in using the Tool for conformance testing (including the NIST Normative Test Process Documents, Implementation Guides, and Release Notes).
  Purpose: The tool validates LRI messages created by HIT Modules and is intended to be used for conformance testing according to the standards listed on the Conformance Standards page of this slide set
  No registration or log-in credentials are required. Simply click on the link below to access and use the Tool
  NOTE: The Test Tool (.war file) can also be downloaded and installed locally.
  NOTE: Web Application is compatible with Firefox, Chrome, or Safari. Recommended browsers are Firefox and Chrome.
  Register to Google Group at: https://groups.google.com/d/forum/hl7v2-lab-testing to ask questions and provide feedback.
http://hl7v2-lab-r2-testing.nist.gov/lri-r2/#/cb

## Slide 28: NIST LRI-LIS Test Tool Screen Shot
Click on arrow to open LIS Test Plan.
3
Test Step Title and Test Story tab display.
5
HIT Context-based Validation
This feature is used to test HIT Modules for conformance to the LRI standards. The majority of the validation involves automated testing that assesses the LRI messages created by the Module and sent to the EHR-S Test Harness. Another type of validation pertains to the inspection testing. This process utilizes an inspector to ascertain if the Acknowledgement messages created by the EHR-S Test Harness are processed correctly by the Module. The Juror Document guides the inspector through the assessment process.
Test Selection view of page displays.
2
Open LRI Validation tool using link:
and click on Context-based
http://hl7v2-lab-r2-testing.nist.gov/lri-r2/#/cb
1
Click on arrows to expand the Test Scenarios and Test Cases. Click on a Test Step.
4
Click on Load Test Step button to proceed with conformance testing for the Test Step
7
Click Message Content tab to view and download the Message Content Sheet.
6

## Slide 29: Resources
  Test Tool Web Site http://hl7v2-lab-r2-testing.nist.gov/lri-r2/#/home provides
  Test Tool (API, Web Application, and Desktop)
  Test Cases/Steps, Test Stories, Test Data, Message Content Sheets, Example Messages, Juror Documents
  User Documentation
  Testing Artifacts
    Message Profiles
    Value Sets
    Validation Reports
Contact
  Rob Snelick (rsnelick@nist.gov)